BROCHURE

SWISS-THAI Wastewater Filtration Solution

with AFM® Technology

Portable/Modular Wastewater Filtration System

Model:  SWISS-THAI OZONE-PHFC (Commercial/Industrial)

# WATER PURIFICATION – pre-treatment high FLOW Filtration – COMPACT (PHFC)

## Sediment filter, UV, UF (ultrafiltration), ozone, reverse osmosis and activated carbon

High Flow Pre-Treatment Drinking Water

### (Production: 5,000 liters per hour / 120,000 liters per day)

#### Specification:

High flow Pre-treatment – Water purification process:

- Media filtration

- Ozonation

- UV sterilization

- Peristaltic pumps:

  - injection of a flocculant solution

  - injection of a pH solution

  - injection of chlorine solution

Adaptable according to the quality of the incoming water

### Filter media tank activated

- Stainless steel, grade 304

- Diameter: 77.5 cm

- Height: 122 cm

- Thickness: 2mm

#### Ozone generator and UV sterilizer

- Stainless steel case

- An amalgam UV sterilizer

- 105W 1200mA

- lifespan: 13,000 hours



#### Three peristaltic pumps

- injection of a flocculant solution

- injection of a pH solution

- injection of chlorine solution

#### Controller and monitoring

- A pH / ORP control unit

- Voltmeter monitoring

- An Internet surveillance system.

#### Dimension :

- L 101 cm x P 97 cm x H 93 cm

#### Dual ozone injection mode.

- Normal mode

- Ozone shock mode

#### Delivery & Installation:

- Delivery and Installation will be within 50 to 60 working days upon placement of the order.

For Inquiries please call:  0917-541-2188 / Edmond Antonio